## The Borough of Hightstown

### Code Enforcement Office

148 North Main Street

Hightstown, NJ 08520

(609) 490-5100 Ext.617

Property Location:	____________________________________________________________________

Type of Inspection Requested

Sale				$80.00		Initial Inspection

Rental Property		$35.00		Initial Inspection for change of occupancy- per unit

Re-Inspection Fee		$25.00		Re-inspection if violations are noted in the initial inspection

The following items are required prior to the issuance of a Certificate of Occupancy:

______  Smoke detectors on each level of the premises, and outside of each sleeping area.

______  Carbon monoxide detectors located near all sleeping area.

______  ABC type fire extinguisher mounted within 10’ of the kitchen area, no larger than 10 pounds rated.

______  Windows open and stay- required for fire egress.

______  GFCI (Ground Fault Circuit Interrupter) where required and operating properly.

______  Dryer vent connector is metal, not plastic.

______  No garbage disposal.  (Not allowed by Borough Ordinances)

______  Sump pump discharged as per Borough Ordinances

______  Sidewalks and curbs are in good condition.

______  Furnace or Boiler Certification by an outside contractor.

______  Fireplace Chimney Certification by an outside contractor.

______  Permits obtained for all work- plumbing, electric, furnace, water heater, roofing, siding, etc.

______  Any open permits?   ____ Yes  _____No   List:_________________________________________

Owner:	        _____________________________________		Phone:      _______________________

Address:     __________________________________________________________________________

Agent:	        _____________________________________		Phone:	     _______________________

Buyer’s  Name:	______________________________________________________________

For Office Use Only PLEASE MAKE CHECKS PAYABLE TO “HIGHTSTOWN BOROUGH” Appointment Date: ______________________ Time: ___________ Recorded: ________ Amount: $ ______________________ Date Paid: _________________________ Check Number: ______________________ Received by: ________________________ Number of Bedrooms __________________ Number of Occupants ________________ _______________________________________ ______________________________________ Housing Official Date Approved